## KPI
Category | Symbol | Name | Unit | Area | Ref
EnEf | APC | Adaptability Power Curve | Ratio | Facility | [22]
EnEf | CADE | Corporate Average Data Center Efficiency | Percentage | Facility | [30]
EnEf | CPE | Compute Power Efficiency | Percentage | Facility | [31]
EnEf | DCA | DCAdapt | Ratio | Facility | [22]
EnEf | DCcE | Data Center Compute Efficiency | Percentage | Server | [32]
EnEf | DCeP | Data Center Energy Productivity | UW/kWh | Facility | [33]
EnEf | DCiE | Data Center Infrastructure Efficiency | Percentage | Facility | [10]
EnEf | DCLD | Data Center Lighting Density | kW/ft2 | Facility | [34]
EnEf | DCPD | Data Center Power Density | kW/Rack | Rack | [34]
EnEf | DCPE | Data Center Performance Efficiency | UW/Power | Facility | [35]
EnEf | DC-FVER | Data Center Fixed to Variable Energy Ratio Deployed | Ratio | Facility | [36]
EnEf | DH-UE | Hardware Utilization Efficiency | Percentage | Server | [37]
EnEf | DH-UR | Deployed Hardware Utilization Ratio | Percentage | Server | [37]
EnEf | DPPE | Data Center Performance Per Energy | Ratio | Facility | [38]
EnEf | DWPE | Data center Workload Power Efficiency | Perf/Watt | Server | [39]
EnEf | EES | Energy ExpenseS | Ratio | Facility | [22]
EnEf | EWR | Energy Wasted Ratio | Ratio | Facility | [38]
EnEf | H-POM | IT Hardware Power Overhead Multiplier | Ratio | IT Equipment | [37]
EnEf | ITEE | IT Equipment Energy | Cap/kW | IT Equipment | [38]
EnEf | ITEU | IT Equipment Utilization | Percentage | IT Equipment | [38]
EnEf | OSWE | Operating System Workload Efficiency | OS/kW | Facility | [40]
EnEf | PDE | Power Density Efficiency | Percentage | Rack | [41]
EnEf | PEsavings | Primary Energy Savings | Ratio | Facility | [22]
EnEf | PUE1-4 | Power Usage Effectiveness Level 1-4 | Ratio | Facility | [10], [19]
EnEf | PUEscalability | Power Usage Effectiveness Scalability | Percentage | Facility | [42]
EnEf | pPUE | Partial Power Usage Effectiveness | Ratio | Facility | [10]
EnEf | PpW | Performance per Watt | Perf/Watt | Server | [43]
EnEf | ScE | Server Compute Efficiency | Percentage | Server | [32]
EnEf | SI-POM | Site Infrastructure Power Overhead Multiplier | Ratio | Facility | [37]
EnEf | SPUE | Server Power Usage Efficiency | Ratio | Facility | [39]
EnEf | SWaPe | Space, Watts and Performance | Ratio | Rack | [44]
EnEf | TUE | Total-Power Usage Effectiveness | Ratio | Facility | [45]
Cooling | AEUF | Air Economizer Utilization Factor | Percentage | HVAC | [46]
Cooling | CoP | Coefficient of Performance Ensemble | Ratio | Facility | [47]
Cooling | DCCSE | Data Center Cooling System Efficiency | kW/ton | HVAC | [48]
Cooling | DCSSF | Data center Cooling System Sizing Factor | Ratio | HVAC | [48]
Cooling | EER | Energy Efficiency Ratio | Ratio | Facility | [19]
Cooling | HSE | HVAC System Effectiveness | Ratio | HVAC | [49]
Cooling | RI | Recirculation Index | Ratio | HVAC | [50]
Cooling | WEUF | Water Economizer Utilization Factor | Percentage | HVAC | [51]
Green | CO2-R | CO2 Savings | Ratio | Facility | [22]
Green | CUE | Carbon Usage Effectiveness | KgCO2/kWh | Facility | [11]
Green | EDE | Electronics Disposal Efficiency | Percentage | Facility | [13]
Green | ERE | Energy Reuse Effectiveness | Percentage | Facility | [53]
Green | ERF | Energy Reuse Factor | Percentage | Facility | [53]
Green | GEC | Green Energy Coefficient | Percentage | Facility | [38]
Green | GUF | Grid Utilization Factor | Percentage | Facility | [22]
Green | MRR | Material Recycling Ratio | Percentage | Facility | [54]
Green | Omega | Water Usage Energy / v | Ratio | Facility | [55]
Green | TCE | Technology Carbon Efficiency | Pounds of CO2/kWh | Facility | [56]
Green | TGI | The Green Index | Ratio | Facility | [57]
Green | WUE | Water Usage Effectiveness | Liters/kWh | Facility | [12]
Performance | ACE | Availability, Capacity, and Efficiency Performance Score | Ratio | HVAC | [61]
Performance | CPU | Central Processing Unit Usage | Percentage | Server | [62]
Performance | DCP | Data Center Productivity | Useful work/Watt | Facility | [63]
Performance | DEEPI | Data Center Energy Efficiency and Productivity Index | Prod./Watt | Facility | [64]
Performance | DR | Dynamic Range | Ratio | Server | [65]
Performance | EP | Energy Proportionality | Ratio | Server | [66]
Performance | FpW | Flops per Watt | Float. ops/Joule | Server | [62]
Performance | IPR | Idle-to-peak Power Ratio | Ratio | Server | [67]
Performance | LD | Linear Deviation | Ratio | Server | [65]
Performance | LDR | Linear Deviation Ratio | Ratio | Server | [67]
Performance | PG | Proportionality Gap | Ratio | Server | [65]
Performance | SWaP | Space, Watts and Performance | Ratio | Facility | [68]
Performance | UDC | Data Center Utilization | Percentage | Facility | [69]
Performance | Userver | Server Utilization | Percentage | Server | [69]
Performance | UCF | Uninterruptible Power Supply Crest Factor | Ratio | UPS | [70]
Performance | UPEE | Uninterruptible Power Supply Energy Efficiency | Percentage | UPS | [72]
Performance | UPF | Uninterruptible Power Supply Power Factor | Ratio | UPS | [70]
Performance | UPFC | Uninterruptible Power Supply Power Factor Corrected | Ratio | UPS | [71]
Performance | USF | Uninterruptible Power Supply Surge Factor | Ratio | UPS | [70]
Thermal | AirEff | Airflow Efficiency | W/cfm | Facility | [48]
Thermal | BPR | Bypass Ratio | Ratio | Facility | [15]
Thermal | BR | Balance Ratio | Ratio | Facility | [15]
Thermal | CI | Capture Index | Percentage | HVAC | [73]
Thermal | DC_T | Data Center Temperature | oC or oF | Facility | [27]
Thermal | DP | Dew Point | oC or oF | Facility | [27]
Thermal | HF | Heat Flux | W/m2 | Facility | [27]
Thermal | IoT | Imbalance of Temperature | Percentage | Server | [19]
Thermal | D2 | Mahalanobis Generalized Distance (D2) | Unit | Facility | [74]
Thermal | M | Mass Flow Mc, Mn, Mbp, Mr, Ms | cfm | Facility | [75]
Thermal | RCI | Rack Cooling Index | Percentage | Rack | [76]
Thermal | RH | Relative Humidity | Percentage | Facility | [77]
Thermal | RHI | Return Heat Index | Ratio | Facility | [78]
Thermal | RR | Recirculation Ratio | Ratio | Facility | [15]
Thermal | RTI | Return Temperature Index | Percentage | Rack | [79]
Thermal | SHI | Supply Heat Index | Ratio | Facility | [78]
Thermal | bindex | b-index | Ratio | Rack | [80]
Network | BJC | Bits per Joule Capacity | bits/joule | IT Equipment | [82]
Network | CNEE | Communication Network Energy Efficiency | Joule/bit | IT Equipment | [18]
Network | DS | Diameter Stretch | Ratio | IT Equipment | [83]
Network | ECR-VL | Energy Consumption Rating Variable Load | Watts/Gbps | IT Equipment | [84]
Network | NPUE | Network Power Usage Effectiveness | Ratio | IT Equipment | [18]
Network | NPkW | Network Traffic per Kilowatt-Hour | Bits/kWh | Facility | [85]
Network | PS | Path Stretch | Ratio | IT Equipment | [83]
Network | RSmax | Maximum Relative Size | Ratio | IT Equipment | [83]
Network | TEER | Telecommunications Energy Efficiency Ratio | Ratio | IT Equipment | [86]
Network | Unetwork | Network Utilization | Percentage | IT Equipment | [69]
Storage | Sto | Capacity | GB/Watt | Storage | [87]
Storage | LSP | Low-cost Storage Percentage | Percentage | Storage | [88]
Storage | MemU | Memory Usage | Ratio | Storage | [89]
Storage | OSE | Overall Storage Efficiency | Ratio | Storage | [88]
Storage | RT | Response Time | Milliseconds | Storage | [87]
Storage | SU | Slot Utilization | Percentage | Storage | [87]
Storage | B/s | Throughput | Bytes/second | Storage | [89]
Storage | Ustorage | Storage Usage | Percentage | Storage | [69]
Security | ACPR | Average Comparisons Per Rule | Count | IT Equipment | [90]
Security | AS | Accessibility Surface | Count | IT Equipment | [90]
Security | ATR | Application Transaction Rate | Bits/sec | IT Equipment | [91]
Security | CC | Concurrent Connections | Count | IT Equipment | [90]
Security | CER | Connection Establishment Rate | Connections/sec | IT Equipment | [92]
Security | CTR | Connection Tear down Rate | Connections/sec | IT Equipment | [92]
Security | DeD | Defense Depth | Count | Facility | [91]
Security | DeP | Detection Performance | - | IT Equipment | [93]
Security | DTE | Data Transmission Exposure | Count | IT Equipment | [93]
Security | FC | Firewall Complexity | Ratio | IT Equipment | [90]
Security | HTTPR | HTTP Transfer Rate | Bits/sec | IT Equipment | [92]
Security | IAS | Interface Accessibility Surface | Count | IT Equipment | [90]
Security | IPFH | IP Fragmentation Handling | - | IT Equipment | [92]
Security | b/s | IP throughput | Bits/sec | IT Equipment | [94]
Security | ITH | Illegal Traffic Handling | Percentage | IT Equipment | [92]
Security | LAT | Latency | Milli-seconds | IT Equipment | [91]
Security | RA | Rule Area | Count | IT Equipment | [90]
Security | RC | Reachability Count | Count | Facility | [93]
Security | RCD | Rogue Change Days | Days | IT Equipment | [93]
Security | T | Vulnerability Exposure | days | IT Equipment | [93]
Financial | BVCI | Business Value of Converged Infrastructure | Dollars | Facility | [103]
Financial | CapEx | Capital Expenditure | Dollars | Facility | [104]
Financial | CCr | Carbon Credit | Tons of Carbon | Facility | [87]
Financial | MTBF | Mean Time Between Failures | Hours | Facility | [105]
Financial | MTTF | Mean Time To Failure | Hours | Facility | [102]
Financial | MTTR | Mean Time To Repair | Hours | Facility | [102]
Financial | OpEx | Operational Expenditure | Dollars | Facility | [104]
Financial | ROI | Return On Investment | Ratio | Facility | [106]
Financial | TCO | Total Cost of Ownership | Dollars | Facility | [107]
Financial | λ | Reliability | Faults/Hour | Facility | [102]

## Tabelle2
Energy | EnEf |  | New_ Under Energy
Green
Performance | Network | under ICT_Performance
| Storage | under ITC_Performance
Security
Financial
| Thermal |  | New: Under Climat.
Cooling

## Table 4
TABLE 1 Energy Efficiency Metrics Overview
Acronym | Full Name | Unit | Objective | Optimal | Category | Ref.
APC | Adaptability Power Curve | Ratio | Maximize | 1 | Facility | [22]
CADE | Corporate Average Data Center Efficiency | Percentage | Maximize | 1 | Facility | [30]
CPE | Compute Power Efficiency | Percentage | Maximize | 1 | Facility | [31]
DCA DCcE DCeP | DCAdapt Data Center Compute Efficiency Data Center Energy Productivity | Ratio Percentage UW/kWh | Minimize Maximize Maximize | —1 1 | Facility Server Facility | [22] [32] [33]
DCiE DCLD DCPD DCPE DC-FVER DH-UE DH-UR DPPE DWPE EES EWR | Data Center Infrastructure Efficiency Data Center Lighting Density Data Center Power Density Data Center Performance Efficiency Data Center Fixed to Variable Energy Ratio Deployed Hardware Utilization Efficiency Deployed Hardware Utilization Ratio Data Center Performance Per Energy Data center Workload Power Efficiency Energy ExpenseS Energy Wasted Ratio | Percentage kW/ft2 kW/Rack UW/Power Ratio Percentage Percentage Ratio Perf/Watt Ratio Ratio | Maximize Minimize Maximize Maximize Minimize Maximize Maximize Maximize Maximize Maximize Minimize | 1.0 0.0 1 1 1.0 1.0 1.0 1 0.0 | Facility Facility Rack Facility Facility Server Server Facility Server Facility Facility | [10] [34] [34] [35] [36] [37] [37] [38] [39] [22] [38]
GEC H-POM ITEE ITEU OSWE PDE PEsavings PUE1-4 PUEscalability | Green Energy Coefficient IT Hardware Power Overhead Multiplier IT Equipment Energy IT Equipment Utilization Operating System Workload Efficiency Power Density Efficiency Primary Energy Savings Power Usage Effectiveness Level 1-4 Power Usage Effectiveness Scalability | Percentage Ratio Cap/kW Percentage OS/kW Percentage Ratio Ratio Percentage | Maximize Minimize Maximize Maximize Maximize Maximize Maximize Minimize Maximize | 1.0 1.0 1 1 1.0 1.0 1.0 | Facility IT Equipment IT Equipment IT Equipment Facility Rack Facility Facility Facility | [38] [37] [38] [38] [40] [41] [22] [10], [19] [42]
pPUE | Partial Power Usage Effectiveness | Ratio | Minimize | 1 | Facility | [10]
PpW ScE | Performance per Watt Server Compute Efficiency | Perf/Watt Percentage | Maximize Maximize | 1 | Server Server | [43] [32]
SI-POM SPUE SWaP TUE | Site Infrastructure Power Overhead Multiplier Server Power Usage Efficiency Space, Watts and Performance Total-Power Usage Effectiveness | Ratio Ratio Ratio Ratio | Minimize Minimize Maximize Minimize | 1.0 1.0 1 | Facility Facility Rack Facility | [37] [39] [44] [45]
1
1
1
1
1
1
1

## Table 5
TABLE 2 Cooling Metrics
Acronym | Full Name | Unit | Objective | Optimal | Category | Ref.
AEUF | Air Economizer Utilization Factor | Percentage | Maximize | 1 | HVAC | [46]
CoP DCCSE | Coefficient of Performance Ensemble Data Center Cooling System Efficiency | Ratio kW/ton | Maximize Minimize | 1 | Facility HVAC | [47] [48]
0.0 DCSSF Data center Cooling System Sizing Factor Ratio Minimize 1.0 HVAC [48] EER Energy Efficiency Ratio Ratio Maximize Facility [19] HSE HVAC System Effectiveness Ratio Maximize 3.5 HVAC [49] RI Recirculation Index Ratio N/A N/A HVAC [50] WEUF Water Economizer Utilization Factor Percentage Maximize 1.0 HVAC [51]
TABLE 3 Green Metrics
1

## Table 6
Acronym | Full Name | Unit | Objective | Optimal | Category | Ref.
- | CO2 Savings | Ratio | Maximize | 1 | Facility | [22]
CUE | Carbon Usage Effectiveness | KgCO2/kWh | Minimize | 0 | Facility | [11]
EDE | Electronics Disposal Efficiency | Percentage | Maximize | 1 | Facility | [13]
ERE | Energy Reuse Effectiveness | Percentage | Minimize | 0 | Facility | [53]
ERF | Energy Reuse Factor | Percentage | Maximize | 1 | Facility | [53]
GEC | Green Energy Coefficient | Percentage | Maximize | 1 | Facility | [38]
GUF | Grid Utilization Factor | Percentage | Minimize | 0 | Facility | [22]
MRR | Material Recycling Ratio | Percentage | Maximize | 1 | Facility | [54]
Omega | Water Usage Energy / v | Ratio | Minimize | 0 | Facility | [55]
TCE | Technology Carbon Efficiency | Pounds of CO2/kWh | Minimize | 0 | Facility | [56]
TGI | The Green Index | Ratio | N/A | N/A | Facility | [57]
WUE | Water Usage Effectiveness | Liters/kWh | Minimize | 0 | Facility | [12]

## Table 7
TABLE 4
Performance Metrics
Acronym | Full Name Unit |  |  | Objective | Optimal | Category |  | Ref.
ACE | Availability, Capacity, and Efficiency Performance Score Ratio |  |  | Maximize | 1 | HVAC |  | [61]
CPU | Central Processing Unit Usage Percentage |  |  | Maximize | 1 | Server |  | [62]
DCP DEEPI DR EP FpW IPR LD | Data Center Productivity Useful work/Watt Data Center Energy Efficiency and Productivity Index Prod./Watt Dynamic Range Ratio Energy Proportionality Ratio Flops per Watt Float. ops/Joule Idle-to-peak Power Ratio Ratio Linear Deviation Ratio |  |  | Maximize Maximize Maximize Maximize Maximize Minimize Minimize | 1 1 1.0 1 0.0 | Facility Facility Server Server Server Server Server |  | [63] [64] [65] [66] [62] [67] [65]
LDR PG SWaP UDC Userver UCF | Linear Deviation Ratio Ratio Proportionality Gap Ratio Space, Watts and Performance Ratio Data Center Utilization Percentage Server Utilization Percentage Uninterruptible Power Supply Crest Factor Ratio |  |  | Minimize Minimize Maximize Maximize Maximize Optimize | 0.0 0.0 1 1.0 1.4 | Server Server Facility Facility Server UPS |  | [67] [65] [68] [69] [69] [70]
UPEE | Uninterruptible Power Supply Energy Efficiency Percentage |  |  | Maximize | 1 | UPS |  | [72]
UPF | Uninterruptible Power Supply Power Factor Ratio |  |  | Maximize | 1 | UPS |  | [70]
UPFC | Uninterruptible Power Supply Power Factor Corrected Ratio |  |  | Maximize | 1 | UPS |  | [71]
USF | Uninterruptible Power Supply Surge Factor Ratio |  |  | Optimize | 1.5 | UPS |  | [70]
1
0
1
TABLE 5 Thermal and Air Management Metrics
Acronym | Full Name | Unit | Objective | Optimal | Category |  | Ref.
- | Airflow Efficiency | W/cfm | Minimize | 0 | Facility |  | [48]
BPR | Bypass Ratio | Ratio | N/A | N/A | Facility |  | [15]
BR | Balance Ratio | Ratio | N/A | N/A | Facility |  | [15]
CI | Capture Index | Percentage | Maximize | 1 | HVAC |  | [73]
DC | Data Center Temperature | oC or oF | Optimize | 18 - 27oC | Facility |  | [27]
DP Dew Point oC or oF Optimize 17oC Facility [27]
HF | Heat Flux | W/m2 | Minimize | 0 | Facility |  | [27]
IoT | Imbalance of Temperature | Percentage | Minimize | 0 | Rack-Server |  | [19]
- | Mahalanobis Generalized Distance (D2) | Unit | Minimize | 0 | Facility |  | [74]
M | Mass Flow Mc, Mn, Mbp, Mr, Ms | cfm | N/A | N/A | Facility |  | [75]
RCI | Rack Cooling Index | Percentage | Maximize | 1 | Rack |  | [76]
- | Relative Humidity | Percentage | Optimize | 60% | Facility |  | [77]
RHI | Return Heat Index | Ratio | Maximize | 1 | Facility |  | [78]
RR | Recirculation Ratio | Ratio | N/A | N/A | Facility |  | [15]
RTI | Return Temperature Index | Percentage | Optimize | 1 | Rack |  | [79]
SHI | Supply Heat Index | Ratio | Maximize | 1 | Facility |  | [78]
- | b-index | Ratio | N/A | N/A | Rack |  | [80]

## Table 8
TABLE 6
Network Metrics
Acronym | Metric |  | Unit |  | Objective | Optimal | Category | Reference
BJC CNEE DS ECR-VL NPUE | Bits per Joule Capacity Communication Network Energy Efficiency Diameter Stretch Energy Consumption Rating Variable Load Network Power Usage Effectiveness |  | bits/joule Joule/bit Ratio Watts/Gbps Ratio |  | Maximize Minimize Optimize Minimize Minimize | 1 1.0 0.0 1.0 | IT Equipment IT Equipment IT Equipment IT Equipment IT Equipment | [82] [18] [83] [84] [18]
- PS RSmax TEER Unetwork | Network Traffic per Kilowatt-Hour Path Stretch Maximum Relative Size Telecommunications Energy Efficiency Ratio Network Utilization |  | Bits/kWh Ratio Ratio Ratio Percentage |  | Maximize Optimize Maximize Maximize Maximize | 1 1.0 1 | Facility IT Equipment IT Equipment IT Equipment IT Equipment | [85] [83] [83] [86] [69]
TABLE 7 Storage Metrics
Acronym | Metric | Unit |  | Objective |  | Optimal | Category | Reference
- LSP | Capacity Low-cost Storage Percentage | GB/Watt Percentage |  | Maximize Maximize |  | 1 | Storage Storage | [87] [88]
0
1
1
1.0 - Memory Usage Ratio Maximize 1.0 Storage [89] OSE Overall Storage Efficiency Ratio Maximize 1.0 Storage [88] RT Response Time Milliseconds Minimize 0.0 Storage [87] SU Slot Utilization Percentage Maximize 1.0 Storage [87] - Throughput Bytes/second Maximize Storage [89] Ustorage Storage Usage Percentage Maximize 1.0 Storage [69]
1

## Table 9
TABLE 8
Security Metrics
Acronym | Metric | Unit | Objective | Optimal | Category | Reference
ACPR | Average Comparisons Per Rule | Count | Minimize | 0 | IT Equipment | [90]
AS | Accessibility Surface | Count | Optimize | - | IT Equipment | [90]
ATR CC | Application Transaction Rate Concurrent Connections | Bits/sec Count | Maximize Maximize | 1 | IT Equipment IT Equipment | [91] [90]
CER Connection Establishment Rate Connections/sec Maximize 1 IT Equipment [92] CTR Connection Tear down Rate Connections/sec Optimize - IT Equipment [92] DeD Defense Depth Count Maximize Facility [91] DeP Detection Performance - Maximize 1.0 IT Equipment [93] DTE Data Transmission Exposure Count Minimize 0.0 IT Equipment [93] FC Firewall Complexity Ratio Optimize - IT Equipment [90] - HTTP Transfer Rate Bits/sec Maximize 0.0 IT Equipment [92] IAS Interface Accessibility Surface Count Optimize - IT Equipment [90] IPFH IP Fragmentation Handling - Maximize IT Equipment [92] - IP throughput Bits/sec Maximize IT Equipment [94] ITH Illegal Traffic Handling Percentage Maximize IT Equipment [92] - Latency Milli-seconds Minimize 0.0 IT Equipment [91] RA Rule Area Count Optimize - IT Equipment [90] RC Reachability Count Count Minimize 0.0 Facility [93] RCD Rogue Change Days Days Minimize 0.0 IT Equipment [93] T Vulnerability Exposure days Minimize 0.0 IT Equipment [93]
1
1
1
1
1

## Table 10
TABLE 9 Financial Impact Metrics
Acronym | Metric | Unit | Objective | Optimal | Category | Reference
A | Availability | Ratio | Maximize | 1 | Facility | [102]
BVCI CapEx | Business Value of Converged Infrastructure Capital Expenditure | Dollars Dollars | Maximize NA | 1 | Facility Facility | [103] [104]
NA CCr Carbon Credit Tons of Carbon Maximize Facility [87] MTBF Mean Time Between Failures Hours Maximize Facility [105] MTTF Mean Time To Failure Hours Maximize Storage [102] MTTR Mean Time To Repair Hours Minimize 0.0 Facility [102] OpEx Operational Expenditure Dollars Minimize 0.0 Facility [104] ROI Return On Investment Ratio Maximize Facility [106] TCO Total Cost of Ownership Dollars NA NA Facility [107] λ Reliability Faults/Hour Minimize 0.0 Facility [102]
Financial
1
1
1
1